## Slide 1
Manufacturer Information
Flow
Total Head
Speed
Efficiency
Horsepower
Old Pump
BHP
EAM Data
Flow
Total Head
Speed
Efficiency
Motor hp
Energy Cost ($)
New Pump
Changes in
Energy Cost
Efficiency
Current Operating Point
Pump Efficiency
Total Power
Motor and transmission efficiency
Total Power
Pump Efficiency
Pump Curves
Pump Curves
Energy Data
Information Needed:
Pump runtimes
Peak Hours
Energy Bill Rates
Some Pump Curves
Properties of fluid going through pump
Efficiencies shouldn’t change
WHP
Notes: Field Measurements: Q, h, power
HMI: speed, Q, h
Calculated Inputs:
Power
Specific Gravity, water should be 1
New Pump BEP points:
Q, h, speed, efficiency, Power, assume same runtime

## Slide 2
Manufacturer Information
Flow
Total Head
Speed
Efficiency
Power
Old Pump
EAM Data
Flow
Total Head
Speed
Efficiency
New Pump