## Slide 1: Overview
Old Pump:
Flow
Head
Runtime
Efficiency
New Pump:
Flow
Head
Runtime
Efficiency
Results:
Changes in kWh
Changes in energy cost
User Inputs
Pump Calculations
Export Information

## Slide 2: Small Improvements
Determine how others can access the tool
  Use hosting platform (website)
Add a PDF export option
Change Excel exportation to fit best format

## Slide 3: Future Advanced Improvements
If there are peak hours, make an input for those rates to calculate cost over a 24 hour period
  Would need access to energy cost data
Could add more advanced hydraulic calculations to be able to determine efficiency of the old pump rather than have it be an input
Only input is pump tag, autofills everything else
  Would need to run off EAM database